Smart air steward

The basic parameters of the product

| harmful substances 6.2 Comprehensive air quality monitor |
| --- |
| Monitoring Technology： | Natural gas flow detection technology |  | temperature range: | -15-50 |
| Display Mode： | LCD + LED backlight |  | Humidity： | 15-90%HR |
| Size： | 137mmX66.3mmX25mm |  | Monitoring floating： | +1 -1 2% |
| Charging voltage： | 5V |  | battery capacity： | 1000Milliampere |

Product function parameters

|  | The scope of monitoring | Accuracy | Monitoring floating | Average data |
| --- | --- | --- | --- | --- |
| HCHO | 0-9.999mg/m3 | 0.001 | 2% | 60mins data |
| TVOC | 0-99.99mg/m3 | 0.001 | 2% | 30mins data |
| Tempe：-15-50 | Humid：15-90%HR | Time：year-month-data-mins |

Monitoring data

| HCHO | 0.000-0.100mg/m3 qualified | 0.100-0.200mg/m3LLight pollution | 0.200-1.000mg/m3Moderately polluted | 1.000-9.999mg/m3Ssevere pollution |
| --- | --- | --- | --- | --- |
| TVOC | 0.000-0.600mg/m3qaqulified | 0.600-1.500mg/m3Light pollution | 1.500-3.000mg/m3moderately pollution | 3.000-99.99mg/m3Ssevere pollution |

Product operation

Off button: Press the ON-OFF button for 3 seconds to boot or shutdown（Short press locks the normal detection

Given the real-time monitoring data - identification interface flashes / Press Unlock）

- A Button：Alarm sound on or off。

- B Button：Start saving mode on or off the backlight。

- C Button：Adjust the time

- D Button：Press three seconds to re-detection test data cleared。

- E Button：Press 10 seconds to restore the factory instrument calibration mode。

Monitor Configuration

| HCHO Sensor 1pcs | TVOC Sensor1 pcs | Time model 1 pcs | Alarm set |
| --- | --- | --- | --- |
| LCD Screen | Temper Sensor 1pcs | Humid Sensor 1pcs | Power-saving set |
| TVOC Average data of 30 Mins | PM10 Average data of 30 Mins | 1000 Milliampere Battery inside | Restore factory mode |

Source of harmful substances in the air

| Indoor pollution | Building materials, decoration materials, sanitary dirty, dust, etc.。 |
| --- | --- |
| Unqualified decorations | Wallpaper, murals, carpets, curtains, household, household items, etc. |
| Common hazardous substances | Garbage, substandard cosmetics - cleaning agents, insecticides, India Brush ink, preservatives, mosquito coils, smoke, dust, cigarette combustion. |
| From outdoor poll | Industrial emissions, vehicle exhaust, dust, and other surrounding construction. |

Governance programs common harmful substances

| 1 | Buy regular effective air purifier | 4 | Natural Ventilation |
| --- | --- | --- | --- |
| 2 | Activated Carbon Adsorption | 5 | Plants Attenuation |
| 3 | Clean cleaning method | 6 | Away from sources of pollution |

Recommended Indoor Plants

With clean air dust particles adsorption plants：Spider plants, tail orchid, aloe vera, Sansevieria, evergreen, Zou chrysanthemum, rose, rose, osmanthus, chrysanthemum, mint.

24 hours a day monitoring  Four detect security alarm system

Imported high-precision sensor       6.2Mean Record System

Packing Checklist

| Host 1pcs | Charging cable1pcs | Warranty Card Certificate 1pcs | Instruction 1pcs |
| --- | --- | --- | --- |

Product Usage

1.Users can choose single-point or multi-point detection Detection：

That is the single point detection monitor is placed in a fixed place for a long time to detect air quality, and at any time you can view data in real time to detect air quality monitors detected.

Multi-point detection that is measured in multiple locations polling, while viewing real-time air quality monitor detects the location of the detected detection data. (Note: The detection finish after a much-needed place to detect the next location can be detected manually before the detected data is cleared before the monitor.

Note：HCHO/TVOCData cleared Press D button for 3 seconds。

2.home or car detection：

1.Home testing：Before detection, please close doors and windows and turn off fans, air conditioners, air purification equipment. To ensure that no outdoor pollution flowing into the chamber, the detector is placed in a family needs to be detected in any location to be monitored. Detected about 10 minutes to 60 minutes, so the data detected no outside interference to accurately and efficiently. For furniture for testing, the detector can be placed inside the body to the cabinet, drawers and other testing, about 3 minutes -10 minutes testing.

2.Car Detection: Please necessity of special hybrid car cleaning, car is turned off, turn off the car doors and windows, turn off the car air-conditioning fans and other air purification equipment, automotive electronics, will power the detector is placed in a position to detect any of the vehicle, detected length It takes about 5-15 minutes.

3.Detector using natural air flow diffusion sampling, such as detector appears place a long time testing, test data is always at 0.000 or 000 or larger floating up and down for the test data, the user can choose the tester placed the ventilation or air quality comparing re-use of a good place to make fresh and healthy air capture detector 1-3 hours。

4. Detector using natural air flow pattern sampling, indoor and outdoor air flow in time, different times, different locations detected data is normal. Different temperature and humidity also play a certain role and impact on air quality of the line is good or bad. Thus, different time, place, different temperatures and humidity data detected fluctuate is normal.

The detector includes a simple and easy to use and so fast and accurate detection.This detector products for civilian and professional laboratory instruments do not contrast.

The detector is simple and easy to use and with fast and accurate detection.This detector products for civilian and professional laboratory instruments do not contrast.

。

Essentials

Charged before use to ensure that the instrument battery electric power before use。

- The initial use of the testing instruments, the instrument will appear is timing preheated 120 seconds after the boot process, we need to be patient。

- After 120 seconds to warm boot, such as high value large floating or displayed as 0.000 is normal, please testing equipment placed in ventilated place or better air quality at 3-24 hours fresh and healthy air calibration qualified data recovery immediately after normal use. Please contact factory if there is some problem.

- Long-term placement detection, it is recommended to connect the charger work

Instrument overview

- This instrument is a professional high-precision type TVOC (formaldehyde) detector, built-in high-precision equipment imported brands sensor, using the world's advanced sensing technology.

- The instrument can detect temperature, humidity, formaldehyde, toluene, harmful substances in the air and chemical pollutants. For carbon dioxide, carbon monoxide, smoke, CO, SO, NO. Alcohol, perfumes, glue, paint, etc. have good detection results.

- The instrument uses advanced imported high-precision 64-bit high-speed processors, capable of fast and accurate verification test.

- The appearance of the instrument by the world's best known designers focused design, design features: atmosphere, beautiful, easy, clear and so on. Instrument applies to: family, business, government, hospitals, hotels, offices, laboratories and other places.