[image: image1.jpg]PULSE101
PULSE DATA LOGGER

Features

- Upto100Hzinput
+ User programmatle time bins
- Programmable enginesring units

- Interfaces to pubc output flow
tars and Contact isures

- Realtime operation
- Minhature size

- Userfiendly

- Reusible

- Lowcost

+ Rgmots monioring of contct

+ Remots counting and totalzing
+ Flow rate recording

- Gasand water metering

- Traffc studies

- Frequency recording

+ Spaedometenrotatonal spesd
idcator it

Pulse1o1

The Pulse101 s a miniature, low-cost recording device which senses
pulse inputs or contact closures from external sources such as
transducers and/or pulse initiators. It can collect as many as 100
pulses par second and store up to 16,283 totalized puls counts In its
non-volatile memory. Start and stop the devics directly from a
computer and its small size allows It to fit almost anywhere.

A common application for the Pulse]01 s to measure the flow rate o
total volume of a pipeline. With programmable enginsering units
available, the usar has the ability to scale the data collected into
useable units, such as gallons per minute. This unique option enables
the user to saslly lingarize and scale most any transducer that
provides a pulse or contact closure output to the user required units.

The MadgeTech software wil effortiessly show statistical information
based upon the type of unit stored in the device. I additional
analysis Is necassary, one click of a button will export the data Into an
MS Excal® spreadshzet for further analysis

T — o

s e

7 MadgeTech Data Recorder Software
—— dlisplays puls2 data n an easy to use graph.

i« The Windows® based software package allows
the user to effortessly colect, display and
analyza data. A variety of powerful ools allow
you to examine, export, and print professional
looking data with just  click of the mouse.

Clek MaclgaTech o for more nformationorto
onioad the sftaare,





[image: image2.jpg]PULSE101 SPECIFICATIONS*

Input Connection: Removable screw terminal
100Kz (10 ms)
010 12VDC cntiueus; 0 2 30VDC pesk)

<o4v

Maximum Puise Rate
Input Range

Input Low:

Input High

Iternal Weak PullUp:

Input Impedance:

s27v
soopa
kg

Recommended Duty Cyce

for inputsgreater than
12VDC (ver | min. nenay

Minimum Pulse Width/
Contact Closure Time:

18v: <50%
247, S2s
30v. <o

1 milizecand

Engincering Unit: Software programmable. User may
program any deired units up to 10
Eharacters. Value i« storsd in device
Scale Factor: Software programmable. User may
program any desired scaling fatar
from +1.0000E-31 1o 20.9509E¢31.
The factor i stared n the device

Offset Valus: Software Programmable. User may.
program any desired ofset valus from
£1.0000E-31 ta £0.0999E431. The

Toctor 1 store i the device

SOFTWARE FEATURES

May b used with PC ta monitor and record
at inreattime.

Real Time Recording:

Start Modes: Software programmable immediate start or

delay Stat up Lo ix months in advance

Memry: 16,38 radings; software cnfigurable memory wiap

Reading Rate: 1 reading every second to 1 every 12 hours
Visus Indicator: LED flashes at seected raading rate.
Battery Type:

Battery Lte:

3.6 lthium battry includad; user replaceable

1 year typical

Data Format: Date and time stampad V, mY, Y, user defined

engincering units
1 minute/month at 20°C 85232 cablenot i use)

PC serial or USE (nterface cable required)
2400 baud

Windows 95/98/MEINT/2000/XP based software
40 t0 480°C, 0 to 95%RH nan-condsnsing
147 % 2.5 X 0.6" (36mm x 64mm x 16mm)
090: 249)

85 plastic

Time Accuracy:

Computer Inteface:

Software:
Operating Environment:
Dimensions:

Weight

Materiats:

Approvals: CE

Multiple Graphs: ~ Simltansously analyze data from
several nits or deploymens; casly

suitch 10 3 single data seres

Graphical Cursor:  One click displays raadings by time,
Vali, paramatar or samp number

Data Table:  Instantly accass tabular iew for
detaild dates, times, values, and

Autascals function fits dita to the
scrsen, or allows user to manually
Ener thair own values

Scaling Options:

Formatting Options: ~ Change colors, ne styles, plotting

options, show or hide channels quickly

ORDERING INFORMATION.

Statisties:  Calculate averages, min, max, standard
deviation, and masn Kinetl temperature
with the fauch of 2 button
Export Data:  Export data in 3 varisty o common farmats, ar
Suiteh 16 Excel® with 3 single dlck

Autamaticaly caculate and stare calibatian
parameters

Catibration

Logger Configuration:  Easy set up and launch of data loggers with
immediate or delayed star, prferred sample

rate, and davice 1D

Communications:  Automatially sets up communications port, or

lats user selsct canfiguration





